| Gas Barbeque | SOP Number: | RA Number: |
| --- | --- | --- |
|  | 029SOP | 016RA |
| DO NOT use / operate this equipment or complete the task unless you have been trained. |
| POTENTIAL RISKS: Fire, Hazardous Chemicals, Hazardous Manual Tasks, Extreme Temperatures |
| PRE-OPERATIONAL SAFETY Ensure you are wearing the correct Personal Protective Equipment (PPE) for the task. Barbeque only to be used outdoors in a well ventilated area. Check gas bottle and barbeque for any leaks, faults or damage. Report any hazards to your Supervisor or Manager immediately. Gas Cylinders to be secured from movement and date stamped within ten (10) years. Fire Extinguisher to be available or water hose |
| OPERATIONAL SAFETY PRECAUTIONS Complete a visual inspection of the barbeque, looking for damage and gas leakage by spraying soapy water along the gas line and gas connections. If bubbling occurs tighten connections. Make sure that the gas is turned on at the cylinder and that the hood and / or burner lid is up. If fitted with a gas safety gauge, depress the button to allow gas to flow. Push the on knob in and turn anticlockwise to the high position hold the knob in until the burner ignites. Adjust the knob to high medium or low for the desired flame / temperature. Use tongs to move food on the barbeque. To turn off the barbeque turn off at the cylinder first and allow all gas left in the hose to burn off. Then turn the knob to off. Clean the barbeque when the plates are fully cooled down. |
| HOUSEKEEPING Remove all litter from the area and ensure all equipment is clean. When cleaning the barbeque, ensure that it has cooled sufficiently so that there is no risk of burns. Disconnect and wipe the grease collection pipe / container / tray. Remove any spills from the floor mat using a cloth or a mop if one is available. Return barbeque to the designated area for storage. |
| Date of last review: | Signature: |

Acknowledgement much of the information in this document has been sourced by the Department of Education & Children’s Services SA.